## PyToolConfig
{"areaParameters": {"+H00": "OSBL","+H01": "GC","+H02": "BioRA-R1-R2-R3-R4","+H03": "area01","+H04": "CIP","+H05": "PSA","+H06": "Distn","+H07": "CW","+H08": "Cogen","+H09": "WWT","+H10": "EtOH","+H11": "Civil","+H12": "OSBL","+H13": "Inoc-ChemTank-ChemLoad","+H14": "Civil","+H15": "area01","+H16": "Civil","+H17": "FF","+H18": "Civil-FF-ProcTank","+H19": "ISBL","+H20": "ISBL","+H21": "ISBL","+H22": "WT","+H23": "GC","+H24": "WT","+H25": "WT","+H26": "AnalyC"},"typicalParameters": {"Faceplates": ["AI", "ESDG"],"PT_AInGas": ["AI"],"PT_ElectricalRef": ["AI", "DI", "ESD", "FFI", "FI", "FS", "FV", "LI", "LS", "LSH", "LV", "MC", "MP", "PDI", "PI", "PS", "PV", "SI", "TI", "TS", "TV", "VI", "XA", "XI", "XS", "ZFR"],"PT_AInGasPART": ["AI", "AIA"],"PT_Intlk": ["FC", "FV", "FFC", "LC", "LV", "MA", "MC", "MP", "PC", "PV", "TC", "TV", "XS", "XV"],"PT_CfgModeChg": ["MA", "MC", "MP"],"PT_CondSel": ["FC", "FV", "FFC", "LC", "LV", "MA", "MC", "MP", "PC", "PV", "TC", "TV", "XS", "XV"],"PT_ForkEH": ["LS"],"PT_Perm": ["MA", "MC", "MP", "XS", "XV"],"PT_Valve_Diag": ["MV", "XV"],"P_AInHART": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "TI", "VI", "XI"],"P_AIChan": ["AI", "DI", "FI", "FFI", "LI", "LS", "PDI", "PI", "SI", "TI", "VI", "XI"],"P_AIn": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "TI", "VI", "XI"],"P_DIn": ["ESD", "FS", "LS", "LSH", "PS", "TS", "XA", "XS", "ZFR"],"P_E300Ovld": ["MA", "MC", "MP"],"P_Motor": ["MA", "MC", "MP"],"P_PF52x": ["MC", "MP"],"P_PF755": ["MC", "MP"],"P_PIDE": ["FC", "FFC", "LC", "PC", "TC"],"P_ResInh": ["MA", "MC", "MP"],"P_RunTime": ["MA", "MC", "MP"],"P_ValveC": ["FV", "LV", "PV", "TV"],"P_ValveSO": ["XS", "XV"],"P_ValveStats": ["MV", "XV"],"P_VSD": ["MC"]},"indexParameters": {"firstRow": 8,"pidColumn": 3,"locationColumn": 5,"typeColumn": 6,"tagColumn": 7,"descColumn": 10,"rangeColumn": 46,"unitColumn": 47,"routeColumn": 29,"safetyColumn1": 34,"safetyColumn2": 35,"safetyColumn3": 36},"processLibParameters": {"Faceplates": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 7, "label": 8, "tag": 9, "area": 8},"PT_AInGas": {"firstRow": 10, "instanceKey": 4, "key": 3, "area": 5, "desc": 6, "unit": 7, "label": 8, "tag": 9, "rangeMin": 152, "rangeMax": 153},"PT_ElectricalRef": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"PT_AInGasPART": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 7, "label": 8, "tag": 9, "area": 10},"PT_Intlk": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},"PT_CfgModeChg": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"PT_CondSel": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Interlocks"},"PT_ForkEH": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},"PT_Perm": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"PT_Valve_Diag": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_AInHART": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 11, "rangeMax": 12},"P_AIChan": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "PVEUMin": 13, "PVEUMax": 14, "PVEUMinStatic": "0", "PVEUMaxStatic": "100"},"P_AIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "InpRawMin": 10, "InpRawMax": 11, "rangeMin": 12, "rangeMax": 13, "InpRawMinStatic": "0", "InpRawMaxStatic": "100"},"P_DIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},"P_E300Ovld": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_Motor": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 84, "PCmdLockStatic": "1"},"P_PF52x": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 120, "PCmdLockStatic": "1"},"P_PF755": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 110, "PCmdLockStatic": "1"},"P_PIDE": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 10, "rangeMax": 11, "HasPVNav": 12, "PVNavTag": 13, "HasCVNav": 14, "CVNavTag": 15, "HasPVNavStatic": "1", "HasCVNavStatic": "1", "PCmdLock": 188, "PCmdLockStatic": "1"},"P_ResInh": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},"P_RunTime": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Accumulated Run Time (Hours)"},"P_ValveC": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "CVNavTag": 9, "PCmdLock": 90, "PCmdLockStatic": "1"},"P_ValveSO": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 82, "PCmdLockStatic": "1"},"P_ValveStats": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_VSD": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 138, "PCmdLockStatic": "1"}}} | "areaParameters": {"+H00": "OSBL","+H01": "GC","+H02": "BioRA-R1-R2-R3-R4","+H03": "area01","+H04": "CIP","+H05": "PSA","+H06": "Distn","+H07": "CW","+H08": "Cogen","+H09": "WWT","+H10": "EtOH","+H11": "Civil","+H12": "OSBL","+H13": "Inoc-ChemTank-ChemLoad","+H14": "Civil","+H15": "area01","+H16": "Civil","+H17": "FF","+H18": "Civil-FF-ProcTank","+H19": "ISBL","+H20": "ISBL","+H21": "ISBL","+H22": "WT","+H23": "GC","+H24": "WT","+H25": "WT","+H26": "AnalyC"}, | "typicalParameters": {"Faceplates": ["AI", "ESDG"],"PT_AInGas": ["AI"],"PT_ElectricalRef": ["AI", "DI", "ESD", "FFI", "FI", "FS", "FV", "LI", "LS", "LSH", "LV", "MC", "MP", "PDI", "PI", "PS", "PV", "SI", "TI", "TS", "TV", "VI", "XA", "XI", "XS", "ZFR"],"PT_AInGasPART": ["AI", "AIA"],"PT_Intlk": ["FC", "FV", "FFC", "LC", "LV", "MA", "MC", "MP", "PC", "PV", "TC", "TV", "XS", "XV"],"PT_CfgModeChg": ["MA", "MC", "MP"],"PT_CondSel": ["FC", "FV", "FFC", "LC", "LV", "MA", "MC", "MP", "PC", "PV", "TC", "TV", "XS", "XV"],"PT_ForkEH": ["LS"],"PT_Perm": ["MA", "MC", "MP", "XS", "XV"],"PT_Valve_Diag": ["MV", "XV"],"P_AInHART": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "TI", "VI", "XI"],"P_AIChan": ["AI", "DI", "FI", "FFI", "LI", "LS", "PDI", "PI", "SI", "TI", "VI", "XI"],"P_AIn": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "TI", "VI", "XI"],"P_DIn": ["ESD", "FS", "LS", "LSH", "PS", "TS", "XA", "XS", "ZFR"],"P_E300Ovld": ["MA", "MC", "MP"],"P_Motor": ["MA", "MC", "MP"],"P_PF52x": ["MC", "MP"],"P_PF755": ["MC", "MP"],"P_PIDE": ["FC", "FFC", "LC", "PC", "TC"],"P_ResInh": ["MA", "MC", "MP"],"P_RunTime": ["MA", "MC", "MP"],"P_ValveC": ["FV", "LV", "PV", "TV"],"P_ValveSO": ["XS", "XV"],"P_ValveStats": ["MV", "XV"],"P_VSD": ["MC"]}, | "indexParameters": {"firstRow": 8,"pidColumn": 3,"locationColumn": 5,"typeColumn": 6,"tagColumn": 7,"descColumn": 10,"rangeColumn": 46,"unitColumn": 47,"routeColumn": 29,"safetyColumn1": 34,"safetyColumn2": 35,"safetyColumn3": 36}, | "processLibParameters": {"Faceplates": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 7, "label": 8, "tag": 9, "area": 8},"PT_AInGas": {"firstRow": 10, "instanceKey": 4, "key": 3, "area": 5, "desc": 6, "unit": 7, "label": 8, "tag": 9, "rangeMin": 152, "rangeMax": 153},"PT_ElectricalRef": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"PT_AInGasPART": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 7, "label": 8, "tag": 9, "area": 10},"PT_Intlk": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},"PT_CfgModeChg": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"PT_CondSel": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Interlocks"},"PT_ForkEH": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},"PT_Perm": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"PT_Valve_Diag": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_AInHART": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 11, "rangeMax": 12},"P_AIChan": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "PVEUMin": 13, "PVEUMax": 14, "PVEUMinStatic": "0", "PVEUMaxStatic": "100"},"P_AIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "InpRawMin": 10, "InpRawMax": 11, "rangeMin": 12, "rangeMax": 13, "InpRawMinStatic": "0", "InpRawMaxStatic": "100"},"P_DIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},"P_E300Ovld": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_Motor": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 84, "PCmdLockStatic": "1"},"P_PF52x": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 120, "PCmdLockStatic": "1"},"P_PF755": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 110, "PCmdLockStatic": "1"},"P_PIDE": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 10, "rangeMax": 11, "HasPVNav": 12, "PVNavTag": 13, "HasCVNav": 14, "CVNavTag": 15, "HasPVNavStatic": "1", "HasCVNavStatic": "1", "PCmdLock": 188, "PCmdLockStatic": "1"},"P_ResInh": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},"P_RunTime": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Accumulated Run Time (Hours)"},"P_ValveC": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "CVNavTag": 9, "PCmdLock": 90, "PCmdLockStatic": "1"},"P_ValveSO": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 82, "PCmdLockStatic": "1"},"P_ValveStats": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_VSD": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 138, "PCmdLockStatic": "1"}}
| Can be added and adjusted | New Typicals (Rows) CAN NOT be added here. The Filter Parameters ["FC","..", ….] for Typicals CAN be adjusted. | Instrument & ProcessLib Excel Parameters should only be changed if the Format of these Files changed (Row & Col Positions)
| Safety Areas | Typicals Filter Parameters | Instrument Index Parameters | ProcessLib Parameters
| "+H00": "OSBL", | "Faceplates": ["AI", "ESDG"], | "firstRow": 8, | "Faceplates": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 7, "label": 8, "tag": 9, "area": 8},
| "+H01": "GC", | "PT_AInGas": ["AI"], | "pidColumn": 3, | "PT_AInGas": {"firstRow": 10, "instanceKey": 4, "key": 3, "area": 5, "desc": 6, "unit": 7, "label": 8, "tag": 9, "rangeMin": 152, "rangeMax": 153},
| "+H02": "BioRA-R1-R2-R3-R4", | "PT_ElectricalRef": ["AI", "DI", "ESD", "FFI", "FI", "FS", "FV", "LI", "LS", "LSH", "LV", "MC", "MP", "PDI", "PI", "PS", "PV", "SI", "TI", "TS", "TV", "VI", "XA", "XI", "XS", "ZFR"], | "locationColumn": 5, | "PT_ElectricalRef": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H03": "area01", | "PT_AInGasPART": ["AI", "AIA"], | "typeColumn": 6, | "PT_AInGasPART": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 7, "label": 8, "tag": 9, "area": 10},
| "+H04": "CIP", | "PT_Intlk": ["FC", "FV", "FFC", "LC", "LV", "MA", "MC", "MP", "PC", "PV", "TC", "TV", "XS", "XV"], | "tagColumn": 7, | "PT_Intlk": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},
| "+H05": "PSA", | "PT_CfgModeChg": ["MA", "MC", "MP"], | "descColumn": 10, | "PT_CfgModeChg": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H06": "Distn", | "PT_CondSel": ["FC", "FV", "FFC", "LC", "LV", "MA", "MC", "MP", "PC", "PV", "TC", "TV", "XS", "XV"], | "rangeColumn": 46, | "PT_CondSel": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Interlocks"},
| "+H07": "CW", | "PT_ForkEH": ["LS"], | "unitColumn": 47, | "PT_ForkEH": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},
| "+H08": "Cogen", | "PT_Perm": ["MA", "MC", "MP", "XS", "XV"], | "routeColumn": 29, | "PT_Perm": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H09": "WWT", | "PT_Valve_Diag": ["MV", "XV"], | "safetyColumn1": 34, | "PT_Valve_Diag": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H10": "EtOH", | "P_AInHART": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "TI", "VI", "XI"], | "safetyColumn2": 35, | "P_AInHART": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 11, "rangeMax": 12},
| "+H11": "Civil", | "P_AIChan": ["AI", "DI", "FI", "FFI", "LI", "LS", "PDI", "PI", "SI", "TI", "VI", "XI"], | "safetyColumn3": 36 | "P_AIChan": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "PVEUMin": 13, "PVEUMax": 14, "PVEUMinStatic": "0", "PVEUMaxStatic": "100"},
| "+H12": "OSBL", | "P_AIn": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "TI", "VI", "XI"], |  | "P_AIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "InpRawMin": 10, "InpRawMax": 11, "rangeMin": 12, "rangeMax": 13, "InpRawMinStatic": "0", "InpRawMaxStatic": "100"},
| "+H13": "Inoc-ChemTank-ChemLoad", | "P_DIn": ["ESD", "FS", "LS", "LSH", "PS", "TS", "XA", "XS", "ZFR"], |  | "P_DIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},
| "+H14": "Civil", | "P_E300Ovld": ["MA", "MC", "MP"], |  | "P_E300Ovld": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H15": "area01", | "P_Motor": ["MA", "MC", "MP"], |  | "P_Motor": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 84, "PCmdLockStatic": "1"},
| "+H16": "Civil", | "P_PF52x": ["MC", "MP"], |  | "P_PF52x": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 120, "PCmdLockStatic": "1"},
| "+H17": "FF", | "P_PF755": ["MC", "MP"], |  | "P_PF755": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 110, "PCmdLockStatic": "1"},
| "+H18": "Civil-FF-ProcTank", | "P_PIDE": ["FC", "FFC", "LC", "PC", "TC"], |  | "P_PIDE": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 10, "rangeMax": 11, "HasPVNav": 12, "PVNavTag": 13, "HasCVNav": 14, "CVNavTag": 15, "HasPVNavStatic": "1", "HasCVNavStatic": "1", "PCmdLock": 188, "PCmdLockStatic": "1"},
| "+H19": "ISBL", | "P_ResInh": ["MA", "MC", "MP"], |  | "P_ResInh": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},
| "+H20": "ISBL", | "P_RunTime": ["MA", "MC", "MP"], |  | "P_RunTime": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Accumulated Run Time (Hours)"},
| "+H21": "ISBL", | "P_ValveC": ["FV", "LV", "PV", "TV"], |  | "P_ValveC": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "CVNavTag": 9, "PCmdLock": 90, "PCmdLockStatic": "1"},
| "+H22": "WT", | "P_ValveSO": ["XS", "XV"], |  | "P_ValveSO": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 82, "PCmdLockStatic": "1"},
| "+H23": "GC", | "P_ValveStats": ["MV", "XV"], |  | "P_ValveStats": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H24": "WT", | "P_VSD": ["MC"] |  | "P_VSD": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "PCmdLock": 138, "PCmdLockStatic": "1"}
"+H25": "WT",
"+H26": "AnalyC"

## README
PyTool README
Tool Info | Files - Info & Usage | Usage & Walkthrough
This Tool works hand in hand with the ProcessLibraryOnlineConfigTool, | The following Files are needed for this Tool to work: | ¦ Get 'ProcessLibraryOnlineConfigTool.xls' File (with desired typicals sheet-data) from Remote Machine.
and will take away most of the manual Instrument Index lookup and value updating. | .) PyTool.exe
| .) PyToolConfig.xlsx | ¦ Start program (.exe/script)
It will load the Instrument Index File, and process & filter the Data depending on the following Inputs: | .) Instrument Index
.) P&ID | .) ProcessLibraryOnlineConfigTool.xls | ¦ Select PyToolConfig File in dialog to load config parameters
.) Typicals
| PyTool.exe | ¦ Select Instrument Index in dialog and load entire Instrument Index Data
For each given Typical the data will be processed and filtered by the corresponding Typical Filter Logic. | Main Program that will start the Tool.
Output will then be stored on the desktop as new Excel File with two Sheets for each filtered typical (Control- & Full-Sheet). | Will request the files mentioned above and perform filtering and output logic. | ¦ Enter target P&ID
¦---- Select single P&ID e.g. 2407, or all with *
The Full-Sheet's will in the end contain ALL rows that are in the ProcessLib File, but with all the Rows updated with the Instrument Index Data. | PyToolConfig.xlsx | ¦---- Count of Instruments with specified Typical will be displayed
| Configuration Interface - holds important indexing and filtering parameters. | ¦---- Available Typicals will be displayed
The rows in the Full-Sheet's can then fully replace the rows in the corresponding Typical Sheet inside the ProcessLibraryOnlineConfigTool File. | Edit with caution. Must be JSON Formatted.
¦ Enter target Typicals
| Instrument Index | ¦---- Select single Typical or multiple -> by seperating them with a semicolon (typical;typical;typical), or selecting all with *
| Data in the Instrument Index will be treated as Master Data. | ¦---- All the found candidates for each selected Typical will then be displayed
The following Typicals are available in this Tool: | Its Values will always have Top Priority when Updating the ProcessLib File. | ¦---- Candidate meaning it is possible for those candidates to fit into this typical. The Tool will handle this filtering and merging accordingly
PT_Intlk | ProcessLibraryOnlineConfigTool.xls | ¦ Continue to Merging Process - Select ProcessLibraryOnlineConfigTool-File in dialog and load contents
PT_CfgModeChg | Values from the PLC Program will be loaded into this File with created Macros. | ¦ ---- For each entered typical, the filtered data with entered P&ID from Instrument Index will be merged with the ProcessLib Sheets
PT_CondSel | Those Values will then be updated by the PyTool using the Instrument Index. | ¦ ---- The updated Sheets will contain exactly the same row counts as the ProcessLib Sheets had before
PT_ForkEH |  | ¦ ---- For each entered typical 2 sheets are created in a new excel file that in the end will be saved on your desktop.
PT_Perm
PT_Valve_Diag |  | Now overwrite the seperate sheets from the ProcessLib file with the corresponding processed-output-file sheets
P_AIChan
P_AIn
P_AInHART |  | Move file back to remote machine and load into programm
P_DIn
P_E300Ovld
P_Motor
P_PF52x
P_PF755
P_PIDE
P_ResInh
P_RunTime
P_ValveC
P_ValveSO
P_ValveStats
P_VSD