## PyToolConfig
{"areaParameters": {"+H00": "OSBL","+H01": "GC","+H02": "BioRA-R1-R2-R3-R4","+H03": "area01","+H04": "CIP","+H05": "PSA","+H06": "Distn","+H07": "CW","+H08": "Cogen","+H09": "WWT","+H10": "EtOH","+H11": "Civil","+H12": "OSBL","+H13": "Inoc-ChemTank-ChemLoad","+H14": "Civil","+H15": "area01","+H16": "Civil","+H17": "FF","+H18": "Civil-FF-ProcTank","+H19": "ISBL","+H20": "ISBL","+H21": "ISBL","+H22": "WT","+H23": "GC","+H24": "WT","+H25": "WT","+H26": "AnalyC"},"typicalParameters": {"PT_Intlk": ["FC", "FV", "FFC", "LC", "LV", "PC", "PV", "TC", "TV", "MC", "MP", "XS", "XV"],"PT_CfgModeChg": ["MC", "MP"],"PT_CondSel": ["FC", "FV", "FFC", "LC", "LV", "PC", "PV", "TC", "TV", "MC", "MP", "XS", "XV"],"PT_ForkEH": ["LS"],"PT_Perm": ["MC", "MP", "XS", "XV"],"PT_Valve_Diag": ["MV", "XV"],"P_AInHART": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "VI", "TI", "XI"],"P_AIChan": ["AI", "DI", "FI", "FFI", "LI", "LS", "PDI", "PI", "SI", "TI", "VI", "XI"],"P_AIn": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "TI", "VI", "XI"],"P_DIn": ["ESD", "FS", "LS", "LSH", "PS", "TS", "ZFR"],"P_E300Ovld": ["MC", "MP"],"P_Motor": ["MC", "MP"],"P_PF52x": ["MC", "MP"],"P_PF755": ["MC", "MP"],"P_PIDE": ["FC", "FFC", "LC", "PC", "TC"],"P_ResInh": ["MC", "MP"],"P_RunTime": ["MC", "MP"],"P_ValveC": ["FV", "LV", "PV", "TV"],"P_ValveSO": ["XS", "XV"],"P_ValveStats": ["MV", "XV"],"P_VSD": ["MC"]},"indexParameters": {"firstRow": 8,"pidColumn": 3,"locationColumn": 5,"typeColumn": 6,"tagColumn": 7,"descColumn": 10,"rangeColumn": 46,"unitColumn": 47,"routeColumn": 29,"safetyColumn1": 34,"safetyColumn2": 35,"safetyColumn3": 36},"processLibParameters": {"PT_Intlk": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},"PT_CfgModeChg": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"PT_CondSel": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Interlocks"},"PT_ForkEH": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},"PT_Perm": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"PT_Valve_Diag": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_AInHART": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 11, "rangeMax": 12},"P_AIChan": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "PVEUMin": 13, "PVEUMax": 14, "PVEUMinStatic": "0", "PVEUMaxStatic": "100"},"P_AIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "InpRawMin": 10, "InpRawMax": 11, "rangeMin": 12, "rangeMax": 13, "InpRawMinStatic": "0", "InpRawMaxStatic": "100"},"P_DIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},"P_E300Ovld": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_Motor": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_PF52x": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_PF755": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_PIDE": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 10, "rangeMax": 11, "HasPVNav": 12, "PVNavTag": 13, "HasCVNav": 14, "CVNavTag": 15, "HasPVNavStatic": "1", "HasCVNavStatic": "1"},"P_ResInh": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},"P_RunTime": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Accumulated Run Time (Hours)"},"P_ValveC": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "CVNavTag": 9},"P_ValveSO": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_ValveStats": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_VSD": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8}}} | "areaParameters": {"+H00": "OSBL","+H01": "GC","+H02": "BioRA-R1-R2-R3-R4","+H03": "area01","+H04": "CIP","+H05": "PSA","+H06": "Distn","+H07": "CW","+H08": "Cogen","+H09": "WWT","+H10": "EtOH","+H11": "Civil","+H12": "OSBL","+H13": "Inoc-ChemTank-ChemLoad","+H14": "Civil","+H15": "area01","+H16": "Civil","+H17": "FF","+H18": "Civil-FF-ProcTank","+H19": "ISBL","+H20": "ISBL","+H21": "ISBL","+H22": "WT","+H23": "GC","+H24": "WT","+H25": "WT","+H26": "AnalyC"}, | "typicalParameters": {"PT_Intlk": ["FC", "FV", "FFC", "LC", "LV", "PC", "PV", "TC", "TV", "MC", "MP", "XS", "XV"],"PT_CfgModeChg": ["MC", "MP"],"PT_CondSel": ["FC", "FV", "FFC", "LC", "LV", "PC", "PV", "TC", "TV", "MC", "MP", "XS", "XV"],"PT_ForkEH": ["LS"],"PT_Perm": ["MC", "MP", "XS", "XV"],"PT_Valve_Diag": ["MV", "XV"],"P_AInHART": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "VI", "TI", "XI"],"P_AIChan": ["AI", "DI", "FI", "FFI", "LI", "LS", "PDI", "PI", "SI", "TI", "VI", "XI"],"P_AIn": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "TI", "VI", "XI"],"P_DIn": ["ESD", "FS", "LS", "LSH", "PS", "TS", "ZFR"],"P_E300Ovld": ["MC", "MP"],"P_Motor": ["MC", "MP"],"P_PF52x": ["MC", "MP"],"P_PF755": ["MC", "MP"],"P_PIDE": ["FC", "FFC", "LC", "PC", "TC"],"P_ResInh": ["MC", "MP"],"P_RunTime": ["MC", "MP"],"P_ValveC": ["FV", "LV", "PV", "TV"],"P_ValveSO": ["XS", "XV"],"P_ValveStats": ["MV", "XV"],"P_VSD": ["MC"]}, | "indexParameters": {"firstRow": 8,"pidColumn": 3,"locationColumn": 5,"typeColumn": 6,"tagColumn": 7,"descColumn": 10,"rangeColumn": 46,"unitColumn": 47,"routeColumn": 29,"safetyColumn1": 34,"safetyColumn2": 35,"safetyColumn3": 36}, | "processLibParameters": {"PT_Intlk": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},"PT_CfgModeChg": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"PT_CondSel": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Interlocks"},"PT_ForkEH": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},"PT_Perm": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"PT_Valve_Diag": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_AInHART": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 11, "rangeMax": 12},"P_AIChan": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "PVEUMin": 13, "PVEUMax": 14, "PVEUMinStatic": "0", "PVEUMaxStatic": "100"},"P_AIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "InpRawMin": 10, "InpRawMax": 11, "rangeMin": 12, "rangeMax": 13, "InpRawMinStatic": "0", "InpRawMaxStatic": "100"},"P_DIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},"P_E300Ovld": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_Motor": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_PF52x": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_PF755": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_PIDE": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 10, "rangeMax": 11, "HasPVNav": 12, "PVNavTag": 13, "HasCVNav": 14, "CVNavTag": 15, "HasPVNavStatic": "1", "HasCVNavStatic": "1"},"P_ResInh": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},"P_RunTime": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Accumulated Run Time (Hours)"},"P_ValveC": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "CVNavTag": 9},"P_ValveSO": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_ValveStats": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},"P_VSD": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8}}
| Can be added and adjusted | Typicals (Rows) CAN NOT be added here. The Filter Parameters ["FC","..", ….] for Typicals CAN be adjusted. | Instrument & ProcessLib Excel Parameters should only be changed if the Format of these Files changed (Row & Col Positions)
| Safety Areas | Typicals Filter Parameters | Instrument Index Parameters | ProcessLib Parameters
| "+H00": "OSBL", | "PT_Intlk": ["FC", "FV", "FFC", "LC", "LV", "PC", "PV", "TC", "TV", "MC", "MP", "XS", "XV"], | "firstRow": 8, | "PT_Intlk": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},
| "+H01": "GC", | "PT_CfgModeChg": ["MC", "MP"], | "pidColumn": 3, | "PT_CfgModeChg": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H02": "BioRA-R1-R2-R3-R4", | "PT_CondSel": ["FC", "FV", "FFC", "LC", "LV", "PC", "PV", "TC", "TV", "MC", "MP", "XS", "XV"], | "locationColumn": 5, | "PT_CondSel": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Interlocks"},
| "+H03": "area01", | "PT_ForkEH": ["LS"], | "typeColumn": 6, | "PT_ForkEH": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},
| "+H04": "CIP", | "PT_Perm": ["MC", "MP", "XS", "XV"], | "tagColumn": 7, | "PT_Perm": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H05": "PSA", | "PT_Valve_Diag": ["MV", "XV"], | "descColumn": 10, | "PT_Valve_Diag": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H06": "Distn", | "P_AInHART": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "VI", "TI", "XI"], | "rangeColumn": 46, | "P_AInHART": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 11, "rangeMax": 12},
| "+H07": "CW", | "P_AIChan": ["AI", "DI", "FI", "FFI", "LI", "LS", "PDI", "PI", "SI", "TI", "VI", "XI"], | "unitColumn": 47, | "P_AIChan": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "PVEUMin": 13, "PVEUMax": 14, "PVEUMinStatic": "0", "PVEUMaxStatic": "100"},
| "+H08": "Cogen", | "P_AIn": ["AI", "DI", "FI", "FFI", "LI", "PDI", "PI", "SI", "TI", "VI", "XI"], | "routeColumn": 29, | "P_AIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "InpRawMin": 10, "InpRawMax": 11, "rangeMin": 12, "rangeMax": 13, "InpRawMinStatic": "0", "InpRawMaxStatic": "100"},
| "+H09": "WWT", | "P_DIn": ["ESD", "FS", "LS", "LSH", "PS", "TS", "ZFR"], | "safetyColumn1": 34, | "P_DIn": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "0stText": 9, "1stText": 10, "0stTextStatic": "notOK", "1stTextStatic": "OK"},
| "+H10": "EtOH", | "P_E300Ovld": ["MC", "MP"], | "safetyColumn2": 35, | "P_E300Ovld": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H11": "Civil", | "P_Motor": ["MC", "MP"], | "safetyColumn3": 36 | "P_Motor": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H12": "OSBL", | "P_PF52x": ["MC", "MP"], |  | "P_PF52x": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H13": "Inoc-ChemTank-ChemLoad", | "P_PF755": ["MC", "MP"], |  | "P_PF755": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H14": "Civil", | "P_PIDE": ["FC", "FFC", "LC", "PC", "TC"], |  | "P_PIDE": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "unit": 9, "rangeMin": 10, "rangeMax": 11, "HasPVNav": 12, "PVNavTag": 13, "HasCVNav": 14, "CVNavTag": 15, "HasPVNavStatic": "1", "HasCVNavStatic": "1"},
| "+H15": "area01", | "P_ResInh": ["MC", "MP"], |  | "P_ResInh": {"firstRow": 10, "instanceKey": 4, "key": 3, "label": 6, "tag": 7, "area": 8},
| "+H16": "Civil", | "P_RunTime": ["MC", "MP"], |  | "P_RunTime": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "descStatic": "Accumulated Run Time (Hours)"},
| "+H17": "FF", | "P_ValveC": ["FV", "LV", "PV", "TV"], |  | "P_ValveC": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8, "CVNavTag": 9},
| "+H18": "Civil-FF-ProcTank", | "P_ValveSO": ["XS", "XV"], |  | "P_ValveSO": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H19": "ISBL", | "P_ValveStats": ["MV", "XV"], |  | "P_ValveStats": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8},
| "+H20": "ISBL", | "P_VSD": ["MC"] |  | "P_VSD": {"firstRow": 10, "instanceKey": 4, "key": 3, "desc": 5, "label": 6, "tag": 7, "area": 8}
"+H21": "ISBL",
"+H22": "WT",
"+H23": "GC",
"+H24": "WT",
"+H25": "WT",
"+H26": "AnalyC"